## Slide 1: Team 808 Scalable ESU
TA Check-In: 03/23/2023

## Slide 2: Sonal Tamrakar
What I planned to accomplish in the last 2 weeks
  Finish Integration Test #3
  Start working on getting the box dimensions and box ordered
  Mount heatsinks and insert the system on a mount provided by Medtronic
What I actually accomplished in the last 2 weeks
  Finished Integration Test #3
  Resoldered processors on the shorted controller board (3.3VDig to GND shorted)
  Installed new FETs (100V rated) + heat sink
What I expect to accomplish in the next 2 weeks
  Get the box ordered with the appropriate dimensions
  Finish Product Manual and Acceptance next plan
  Create BOM for all schematic components.

## Slide 3: Rustin Chang
What I planned to accomplish in the last 2 weeks
  Integration test #3
  Wind Isolation transformer
  Figuring out layout of system box
What I actually accomplished in the last 2 weeks
  Finished integration test #3
  Winded Isolation transformer
  Figured out how to layout the systeem box
What I expect to accomplish in the next 2 weeks
  Acceptance Test Demo
  Having box ordered
  Poster preparation

## Slide 4: Ali Moran
What I planned to accomplish in the last 2 weeks
  GUI development
  Product manual update
  Implement timing loop
What I actually accomplished in the last 2 weeks
  GUI development
  Prouduct manual update
  Timing loop
What I expect to accomplish in the next 2 weeks
  box stuff
  finalize gui
  further testing

## Slide 5: Steven
What I planned to accomplish in the last 2 weeks
  Verified the RMS calculations and results
What I actually accomplished in the last 2 weeks
  Verified the correctness of of RMS calculations when it’s open circuit
What I expect to accomplish in the next 2 weeks
  Find the issue causing incorrect RMS results when it’s connected to the load
  Finish product manual and acceptance plan

## Slide 6: Noah Zhao
What I planned to accomplish in the last 2 weeks
  Final integration test
  Begin to design enclosure
What I actually accomplished in the last 2 weeks
  Final integration test
  Begin to design enclosure
What I expect to accomplish in the next 2 weeks
  Product manual update
  Acceptance Testing

## Slide 7: Daniel Chun
What I planned to accomplish in the last 2 weeks
  RF Tank prototyping
What I actually accomplished in the last 2 weeks
  Purchased all components
  Finished functional RF Tank
What I expect to accomplish in the next 2 weeks
  Finish preparations for sensor integration test
  Continue working with the transfer function of our LCC tank