## Slide 1: Team 808 Scalable ESU
TA Check-In: 03/23/2023

## Slide 2: Sonal Tamrakar
What I planned to accomplish in the last 2 weeks
  Debug the noise measured in the voltage and current sensor opamp
  Write up a robust acceptance test plan
What I actually accomplished in the last 2 weeks
  Added a ferrite bead along with the twisted pair setup connecting back to the ADCs
  Replaced standard probes with low voltage differential probes to accurately measure voltage + current sensor plots
  Measured our system with different loads provided by Medtronic (50, 100, 500, 1k, 1.5k)
What I expect to accomplish in the next 2 weeks
  Finish the box enclosure for the acceptance test demo
  Get started on EXPO poster
  Finalize product enclosure

## Slide 3: Rustin Chang
What I planned to accomplish in the last 2 weeks
  Hunt the noise that was appearing with the ADC
  Wind Isolation transformer
  product manual update
What I actually accomplished in the last 2 weeks
  Fixed the noise with the ADC
  Winded Isolation transformer
  Finished product manual update
What I expect to accomplish in the next 2 weeks
  Acceptance Test Demo
  Having box ordered
  Poster preparation

## Slide 4: Ali Moran
What I planned to accomplish in the last 2 weeks
  GUI development
  get testing board
What I actually accomplished in the last 2 weeks
  GUI development
  product manual update
  testing board aquired
What I expect to accomplish in the next 2 weeks
  poster
  final preparations for expo
  understand the magnetics better

## Slide 5: Steven
What I planned to accomplish in the last 2 weeks
  Find the issue causing incorrect RMS results when it’s connected to the load
  Finish product manual and acceptance plan
What I actually accomplished in the last 2 weeks
  Find the issue causing incorrect RMS results when it’s connected to the load
  Finish product manual and acceptance plan
What I expect to accomplish in the next 2 weeks
  Invert the collected voltage samples due to the inverting circuit
  Scale down the current samples because of the sensor resistor
  Help with the poster

## Slide 6: Noah Zhao
What I planned to accomplish in the last 2 weeks
  Spring break
  Acceptance test plan
  Product manual update
What I actually accomplished in the last 2 weeks
  Spring break
  Acceptance test plan
  Product manual update
What I expect to accomplish in the next 2 weeks
  Complete system enclosure
  Acceptance Testing

## Slide 7: Daniel Chun
What I planned to accomplish in the last 2 weeks
  Finish product manual design section
What I actually accomplished in the last 2 weeks
  Completed all design documentation for product manual
  Began finalizing power budget
What I expect to accomplish in the next 2 weeks
  Finalize all hardware quirks
  Fabricate the box for our system
  Begin preparations for expo