## Slide 1: Team 808 Scalable ESU
TA Check-In 6: 1/26/2023

## Slide 2: Sonal Tamrakar
What I planned to accomplish in the last 2 weeks
  Finalize 2nd PCB (final)
  Test controller board using power supply.
  Finalize RF Tank + Voltage Sensor calculations
What I actually accomplished in the last 2 weeks
  2nd PCB (final) almost finished
  Finished testing controller board using power supply instead of soul bay.
  Design custom footprints for inductors/caps/transformer
What I expect to accomplish in the next 2 weeks
  Finish CDR slides
  Appt with Medtronic advisor regarding CDR
  Visit Power Lab

## Slide 3: Rustin Chang
What I planned to accomplish in the last 2 weeks
  Finish PCB design
  Simulate RF tank on LTspice making sure the design is concrete before being placed on the board
  Implement the inverting OP amp topology
What I actually accomplished in the last 2 weeks
  Finished the RF tank design
  Simulated the RF tank successfully
  Successfully finished the inverting OP amp topology
What I expect to accomplish in the next 2 weeks
  Start working on the integrated design test
  look into winding transformers and inductors
  Complete some matlab simulations

## Slide 4: Ali Moran
What I planned to accomplish in the last 2 weeks
  GUI development
  Figure out alternatives for sensors
What I actually accomplished in the last 2 weeks
  Started GUI
  Figured out alternatives but were not using
What I expect to accomplish in the next 2 weeks
  Integrate serial/excel into GUI
  Gain a better understanding of graphing in excel
  Have a working GUI to test custom boards through

## Slide 5: Steven
What I planned to accomplish in the last 2 weeks
  Merge CLA and ADC into the project I am working on
  Setup the RMS value calculation in the CLA’s tasks
  Do some experiments to prove the RMS value is correct with 8 samples/ cycle
What I actually accomplished in the last 2 weeks
  CLA and ADC is merged into the project(but it not working)
  RMS value calculation done
  RMS value close to what oscilloscope gives
What I expect to accomplish in the next 2 weeks
  Fix the problem about CLA and ADC
  Prove the correctness of RMS values

## Slide 6: Noah Zhao
What I planned to accomplish in the last 2 weeks
  Redesign of voltage/current sensors
  Answer some questions from previous semester
What I actually accomplished in the last 2 weeks
  Help redo sensor circuits
  Got some questions answered from previous semester
What I expect to accomplish in the next 2 weeks
  MATLAB sim for point by point RMS calculation
  Answer questions from last check in with Bogatin
  CDR

## Slide 7: Daniel Chun
What I planned to accomplish in the last 2 weeks
  Voltage Sensor final design
  Current Sensor final design
  LTspice Simulations
What I actually accomplished in the last 2 weeks
  Voltage Sensor final design
  Successful LTspice Simulations
What I expect to accomplish in the next 2 weeks
  Finalize exact values for voltage and current sensors
  Begin integration testing phase of project
  Prepare for the CDR